Proposed Risk Management Model Approach

- Data Collection: Aggregate logs from PLCs, network sensors, and threat feeds.

- Risk Scoring: Assign weights to features (e.g., unpatched firmware = high risk).

- Anomaly Detection: Use ML to identify deviations from baseline.

- Mitigation: Automate responses (e.g., block malicious IPs, enforce patches).

- Continuous Monitoring: Update model with real-time ICS threat intelligence.

The diagram outlines a PLC risk management pipeline with three core phases:

- Input & Preprocessing

  - Starts with raw input data (network logs, device inventories).

  - Cleans data (handles missing values) and splits into training/testing sets.

- Core Modules

  - Graph Construction (NetworkX/igraph): Builds a network graph where nodes are devices (PLCs, HMIs) and edges are risky communication links.

  - Risk Assessment (PyTorch): Uses graph neural networks (GNNs) to calculate threat probabilities.

  - RL Mitigation (PPO Agent): Takes safety-aware actions (e.g., isolating SIL3 nodes).

- Output & Evaluation

  - Tracks metrics like accuracy and false positives.

  - Visualizes results on a dashboard (e.g., Grafana).

Model Description

The component of this system are multi-layered decision engines that analyses PLC specific industrial control system data at different stages of processing to identify threats and prioritize responses. Here's how it operates across the pipeline:

1. Device Risk Classification (GNN Layer)

The Graph Neural Network (GNN) layer assesses PLC/device threat levels by analyzing the ICS network graph, where:

•	Nodes represent devices (PLCs, HMIs) and are annotated with features like firmware vulnerabilities (extracted from CVEs), communication patterns (e.g., degree centrality), and operational criticality (e.g., HIGH/MEDIUM/LOW).

•	Edges capture communication channels, tagged with protocol types (e.g., MODBUS) and traffic frequency.

To assess the threat level of each PLC/device in the network context, the Graph Neural Network (GNN) processes the ICS network graph, where Nodes represent devices (PLCs, HMIs, etc.) with features like firmware vulnerabilities (extracted from Attack Reference CVEs), communication patterns (degree centrality, port usage) and with operational criticality (predefined labels like HIGH/MEDIUM/LOW). The Edges represent communication channels annotated with protocol types (MODBUS, PROFINET) and traffic frequency. The GNN outputs a risk probability distribution over 5 classes ["Normal", "Low", "Medium", "High", "Critical"] for example: PLC_001 → [0.01, 0.05, 0.2, 0.6, 0.14] → "High". Unlike traditional threshold-based alerts, this evaluates risk holistically using graph topology (e.g., a PLC with many connections to critical devices is riskier even if its direct vulnerabilities are moderate).

2. Attack Classification (Packet-Level)

To flag malicious network packets in from the dataset in real time, a binary classifier (Random Forest) analyzes protocol anomalies to flag Unexpected MODBUS function codes (e.g., Write_Register to protected addresses). It checks for temporal patterns such as bursts of requests (DoS) or low-and-slow reconnaissance. It also detects payload signatures such as known exploit patterns (extracted from Attack Name like "Cisco IOS HTTP Authentication Bypass") and the outputs a binary label 0 ("Normal") or 1 ("Attack") With confidence scores (e.g., 0.93 → likely malicious) A binary classifier (Random Forest) analyzes network packets in real time to detect attacks by flagging:

•	Protocol anomalies (e.g., unauthorized MODBUS commands).

•	Temporal patterns (DoS bursts, slow reconnaissance).

•	Known exploit signatures (e.g., "Cisco IOS HTTP Bypass").

It outputs a binary label (0 = Normal, 1 = Attack) with confidence scores (e.g., 0.93 → high likelihood of malicious activity). This enables rapid, automated threat detection in ICS networks.

3. Autonomous Mitigation Action

To select the optimal response to threats, a reinforcement Learning (RL) agent classifies actions based on risk severity (from the GNN). operational impact (e.g., isolating a PLC may halt production) and attack type (e.g., DoS vs. SCADA exploit). The prioritized action is then outputted e. g.  ["Monitor", "Throttle Traffic", "Isolate Device", "Patch Schedule"] using training data, historical actions will be labeled with outcomes (e.g., "Isolating PLC_001 reduced risk by 80% with 5min downtime").

How These Classifiers Interact

Example: A MODBUS Write to a critical register trigger, Attack Detector → "Exploit (0.91 confidence)", GNN → "PLC_12: Risk → Critical" and RL → "Isolate PLC_12". The Feedback Loops allows the false positives from the Attack Detector to retrain the model while RL outcomes (e.g., overzealous isolations) adjust action priorities. This Architecture Defense-in-Depth classifiers operate at different granularities i.e. (packet → device → system). Context-Awareness through the GNN accounts for device relationships (e.g., a compromised HMI risks linked PLCs). RL continuously refines responses based on new attack patterns from the dataset making the model adaptive. The model transforms raw network/attack data into actionable security intelligence while balancing detection accuracy and operational continuity.

The Graph Risk Score (GRS) formula and Risk Likelihood function serve as the mathematical foundation for a dynamic, intelligent PLC cybersecurity system, fundamentally transforming how risks are assessed, managed, and mitigated in industrial control environments.

The GRS formula aggregates risk across three dimensions:

- Node Risk Scores (NRS), which capture the inherent vulnerabilities of individual devices like PLCs (e.g., based on CVSS scores or firmware flaws).

- Edge Risk Scores (ERS), quantifying the threat exposure of communication links (e.g., unencrypted Modbus/TCP connections).

- Path Risk Scores (PRS), identifying high-risk attack propagation routes through the network (e.g., a path from a compromised engineering workstation to a safety-critical PLC).

By summing these components, GRS provides a holistic, topology-aware risk metric that prioritizes not just isolated vulnerabilities but their potential cascading impacts. For example, a PLC with a high NRS connected via high-ERS edges to critical infrastructure would trigger a disproportionately elevated GRS, signaling urgent intervention.

The Risk Likelihood function then translates the raw GRS into an interpretable probability (0–1) using a sigmoid curve. This normalization enables:

- Tunable sensitivity: Adjusting the steepness parameter *k* allows customization for different operational contexts (e.g., stricter thresholds for SIL-3 systems).

- Actionable thresholds: Likelihood values map directly to mitigation tiers—monitoring (low), throttling/isolation (medium), or shutdown (high).

For autonomous mitigation, these outputs feed into the Reinforcement Learning (RL) agent’s decision-making. The RL policy evaluates the trade-off between risk reduction (e.g., lowering GRS by blocking an attack path) and operational cost (e.g., production downtime from a shutdown). By continuously updating its strategy based on GRS trends and operational feedback, the system achieves adaptive, context-aware defenses.

Example: During a ransomware attack, the GRS spikes due to high ERS (malicious payloads on Modbus) and PRS (lateral movement toward boilers). The sigmoid likelihood hits 0.82 (>0.7 threshold), prompting the RL agent to enact a shutdown—preventing physical damage while logging the event for forensic review.

Advantages over traditional methods:

- Proactive: Detects emerging threats by analyzing risk propagation, not just static vulnerabilities.

- Explainable: SHAP analysis can decompose GRS contributions (e.g., "60% of risk stems from Path A").

- Resilient: Dynamically adapts to new attack patterns via RL, unlike rule-based systems.

Challenges:

- Computational complexity in large networks (mitigated by path sampling).

- Calibration effort for *k* and action thresholds (addressed via iterative testing).

In essence, this framework bridges theoretical risk modeling and operational cybersecurity, enabling PLC networks to autonomously defend against evolving threats while minimizing disruptions to critical industrial processes.